## Sheet7
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite M1000 |  |  |  | Serial number: 1003007210
Firmware: V_2.09_04/2011_S3LCE (May 2 2011/09.25.56) |  |  |  | MAI, V_2.09_04/2011_S3LCE (May 2 2011/09.25.56)
Date: | 2024-03-12
Time: | 7:27:27 PM
System |  |  |  | USER-PC
User |  |  |  | User-PC\User
Plate |  |  |  | Greiner 96 Flat Bottom Transparent Polystyrene Cat. No.: 655101/655161/655192 [GRE96ft.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Fluorescence Top Reading
Multiple Reads per Well (Square (filled)) |  |  |  | 4 x 4
Multiple Reads per Well (Border) |  |  |  | 750 | µm
Excitation Wavelength |  |  |  | 375 | nm
Emission Wavelength |  |  |  | 480 | nm
Excitation Bandwidth |  |  |  | 5 | nm
Emission Bandwidth |  |  |  | 5 | nm
Gain |  |  |  | 150 | Manual
Number of Flashes |  |  |  | 50
Flash Frequency |  |  |  | 400 | Hz
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 10 | ms
Z-Position (Manual) |  |  |  | 20000 | µm
Start Time: | 3/12/2024 7:27:28 PM
Temperature: 22.6 °C
Well | Mean | StDev | 0;3 | 1;3 | 2;3 | 3;3 | 3;2 | 2;2 | 1;2 | 0;2 | 0;1 | 1;1 | 2;1 | 3;1 | 3;0 | 2;0 | 1;0 | 0;0
A1 | 4320 | 459 | 4476 | 4454 | 4082 | 3471 | 3663 | 4514 | 4644 | 4427 | 4846 | 4834 | 4575 | 3789 | 3604 | 4279 | 4807 | 4652
A2 | 27706 | 2577 | 26523 | 27878 | 26602 | 23698 | 25269 | 29458 | 31597 | 28070 | 27536 | 32636 | 30346 | 25622 | 23778 | 27822 | 29802 | 26655
A3 | 40388 | 5888 | 37989 | 33561 | 34894 | 33461 | 34630 | 36962 | 40494 | 45223 | 47883 | 49797 | 43530 | 35194 | 34787 | 44197 | 49206 | 44395
A4 | 46187 | 6143 | 43550 | 43123 | 41076 | 36692 | 39796 | 45887 | 49539 | 48873 | 55388 | 54699 | 48765 | 41223 | 38403 | 44098 | 53476 | 54411
A5 | 699 | 28 | 763 | 729 | 711 | 742 | 702 | 693 | 688 | 692 | 659 | 678 | 680 | 690 | 723 | 693 | 675 | 667
A6 | 925 | 166 | 817 | 812 | 847 | 868 | 815 | 822 | 822 | 795 | 814 | 1039 | 994 | 838 | 1246 | 1252 | 1190 | 829
A7 | 1880 | 1006 | 3830 | 3108 | 2449 | 2371 | 2321 | 2663 | 2665 | 2918 | 1086 | 1122 | 1178 | 1073 | 852 | 842 | 807 | 794
A8 | 756 | 96 | 737 | 835 | 1044 | 861 | 785 | 785 | 775 | 700 | 695 | 678 | 729 | 731 | 715 | 696 | 650 | 679
A9 | 819 | 33 | 838 | 815 | 867 | 908 | 832 | 811 | 815 | 812 | 786 | 812 | 787 | 789 | 844 | 793 | 789 | 801
A10 | 824 | 21 | 810 | 839 | 830 | 865 | 802 | 817 | 855 | 820 | 838 | 839 | 821 | 805 | 812 | 795 | 791 | 838
A11 | 726 | 31 | 756 | 746 | 728 | 798 | 727 | 689 | 763 | 716 | 680 | 718 | 695 | 719 | 742 | 692 | 738 | 714
A12 | 883 | 72 | 852 | 970 | 1042 | 947 | 868 | 914 | 1008 | 847 | 823 | 863 | 860 | 849 | 857 | 818 | 806 | 808
B1 | 781 | 179 | 822 | 687 | 733 | 1146 | 1298 | 722 | 698 | 733 | 752 | 681 | 655 | 771 | 726 | 703 | 670 | 703
B2 | 767 | 59 | 841 | 830 | 830 | 878 | 790 | 727 | 707 | 791 | 757 | 683 | 691 | 779 | 791 | 724 | 704 | 753
B3 | 721 | 34 | 720 | 718 | 746 | 769 | 734 | 700 | 682 | 744 | 750 | 690 | 668 | 737 | 734 | 690 | 678 | 784
B4 | 7751 | 2206 | 6058 | 7208 | 9319 | 12421 | 8372 | 7717 | 5330 | 3921 | 5020 | 6925 | 7300 | 10279 | 8592 | 10475 | 8457 | 6622
B5 | 28400 | 6211 | 28033 | 38854 | 38914 | 28742 | 23529 | 30589 | 35089 | 30724 | 27431 | 26892 | 21780 | 18614 | 19014 | 23544 | 33369 | 29281
B6 | 15053 | 1549 | 13846 | 14301 | 13904 | 12501 | 13492 | 15365 | 16344 | 15516 | 16955 | 17825 | 16233 | 13798 | 13080 | 15107 | 16783 | 15789
B7 | 44148 | 4463 | 40043 | 42234 | 40528 | 36205 | 40167 | 45611 | 48144 | 45098 | 48847 | 52057 | 48105 | 41082 | 38675 | 44991 | 49167 | 45418
B8 | 785 | 18 | 780 | 770 | 786 | 803 | 821 | 760 | 795 | 773 | 785 | 768 | 790 | 809 | 802 | 779 | 768 | 765
B9 | 811 | 17 | 807 | 807 | 810 | 837 | 801 | 806 | 816 | 803 | 811 | 814 | 802 | 795 | 862 | 810 | 791 | 805
B10 | 910 | 239 | 807 | 901 | 1391 | 1605 | 958 | 923 | 828 | 786 | 782 | 789 | 787 | 800 | 842 | 791 | 763 | 812
B11 | 843 | 36 | 882 | 887 | 869 | 862 | 845 | 823 | 897 | 827 | 819 | 812 | 817 | 845 | 902 | 813 | 785 | 802
B12 | 912 | 97 | 818 | 820 | 825 | 888 | 847 | 841 | 921 | 937 | 1106 | 1047 | 857 | 861 | 849 | 873 | 1059 | 1040
C1 | 22542 | 4736 | 21696 | 21890 | 20025 | 18606 | 17932 | 20024 | 23035 | 25029 | 30192 | 28015 | 20925 | 16392 | 16651 | 21696 | 32766 | 25801
C2 | 18168 | 1210 | 19474 | 19372 | 18852 | 17928 | 17565 | 18618 | 19378 | 19566 | 19165 | 19114 | 17857 | 16684 | 15572 | 16632 | 17512 | 17403
C3 | 39393 | 2251 | 38227 | 39639 | 38350 | 35175 | 36931 | 40396 | 42108 | 40959 | 41285 | 43426 | 41969 | 37914 | 36546 | 39565 | 39771 | 38026
C4 | 18768 | 1060 | 18225 | 18462 | 18007 | 17512 | 18427 | 19110 | 19766 | 19642 | 19770 | 20776 | 19204 | 17910 | 16664 | 18076 | 19973 | 18766
C5 | 19153 | 640 | 18837 | 19494 | 19847 | 19046 | 18900 | 19684 | 19755 | 19082 | 19566 | 19855 | 19558 | 18207 | 17492 | 18787 | 19398 | 18948
C6 | INVALID | INVALID | 35621 | 38239 | 38359 | 36077 | 43334 | 46132 | 44635 | 40811 | 51631 | 51118 | 52128 | 47681 | 41042 | 46348 | 53833 | OVER
C7 | 971 | 296 | 1763 | 1132 | 939 | 820 | 811 | 841 | 1350 | 1439 | 884 | 863 | 776 | 792 | 803 | 752 | 769 | 796
C8 | 688 | 21 | 683 | 716 | 702 | 718 | 697 | 699 | 685 | 673 | 677 | 673 | 668 | 709 | 722 | 668 | 648 | 671
C9 | 821 | 39 | 813 | 897 | 870 | 903 | 823 | 817 | 837 | 803 | 796 | 801 | 786 | 819 | 829 | 777 | 775 | 785
C10 | 810 | 29 | 790 | 802 | 836 | 861 | 863 | 825 | 793 | 788 | 788 | 804 | 790 | 812 | 852 | 781 | 780 | 793
C11 | 705 | 25 | 759 | 757 | 711 | 721 | 685 | 692 | 716 | 680 | 697 | 682 | 680 | 705 | 722 | 690 | 679 | 712
C12 | 931 | 91 | 1051 | 905 | 881 | 922 | 914 | 914 | 945 | 1196 | 941 | 870 | 896 | 947 | 986 | 869 | 821 | 830
D1 | 22638 | 4718 | 17770 | 22506 | 22589 | 18700 | 24057 | 32438 | 29140 | 23397 | 24176 | 26244 | 28193 | 21691 | 14635 | 18412 | 19353 | 18909
D2 | 13512 | 2074 | 11735 | 12461 | 13476 | 12523 | 15241 | 14495 | 13828 | 12833 | 13752 | 15359 | 15504 | 16448 | 13974 | 13995 | 13236 | 7334
D3 | 10750 | 1215 | 12392 | 11424 | 10500 | 8162 | 10131 | 11556 | 12339 | 12427 | 10948 | 11657 | 10670 | 10612 | 9699 | 9464 | 10751 | 9265
D4 | 26965 | 12280 | 15140 | 15035 | 14361 | 13124 | 12898 | 19165 | 27615 | 31084 | 47862 | 47221 | 36489 | 17594 | 22560 | 36668 | 37559 | 37072
D5 | 10066 | 1078 | 9326 | 9869 | 10643 | 10167 | 9448 | 9737 | 9928 | 9927 | 10352 | 11410 | 9420 | 8182 | 8429 | 10420 | 11353 | 12443
D6 | 14775 | 3067 | 13578 | 11599 | 11093 | 10016 | 11570 | 13129 | 16123 | 19527 | 20004 | 19488 | 16639 | 13453 | 15086 | 15473 | 15352 | 14268
D7 | 803 | 26 | 793 | 780 | 801 | 821 | 781 | 814 | 788 | 771 | 800 | 832 | 870 | 792 | 834 | 799 | 777 | 801
D8 | 843 | 77 | 960 | 1068 | 810 | 815 | 791 | 798 | 881 | 902 | 828 | 817 | 793 | 809 | 829 | 803 | 780 | 800
D9 | 793 | 24 | 802 | 769 | 765 | 854 | 797 | 770 | 782 | 775 | 830 | 783 | 783 | 812 | 811 | 782 | 772 | 797
D10 | 806 | 17 | 802 | 815 | 815 | 819 | 802 | 793 | 802 | 772 | 803 | 796 | 797 | 816 | 842 | 804 | 790 | 831
D11 | 824 | 17 | 831 | 818 | 821 | 827 | 823 | 808 | 811 | 826 | 811 | 812 | 813 | 819 | 880 | 835 | 829 | 817
D12 | 863 | 34 | 822 | 824 | 847 | 886 | 870 | 861 | 926 | 838 | 884 | 938 | 886 | 856 | 842 | 843 | 827 | 851
E1 | 12359 | 1101 | 13042 | 13319 | 12366 | 10987 | 11075 | 12557 | 13706 | 13306 | 13225 | 13856 | 12795 | 10839 | 10224 | 11879 | 12616 | 11958
E2 | 13628 | 1108 | 14193 | 14855 | 14281 | 12651 | 13325 | 14721 | 15298 | 14585 | 13552 | 14630 | 14109 | 12977 | 11870 | 12484 | 12699 | 11811
E3 | 14838 | 1172 | 13584 | 15463 | 15085 | 13643 | 14500 | 15997 | 16600 | 14591 | 14570 | 16864 | 16189 | 14072 | 13218 | 14738 | 15221 | 13066
E4 | 1080 | 296 | 779 | 910 | 902 | 817 | 844 | 1340 | 1248 | 884 | 869 | 1411 | 1516 | 903 | 895 | 1675 | 1404 | 887
E5 | 838 | 108 | 808 | 812 | 1183 | 999 | 879 | 833 | 774 | 760 | 804 | 786 | 756 | 795 | 815 | 802 | 797 | 805
E6 | 798 | 16 | 804 | 802 | 804 | 827 | 801 | 796 | 795 | 775 | 789 | 804 | 795 | 818 | 824 | 788 | 767 | 784
E7 | 797 | 15 | 801 | 786 | 803 | 816 | 805 | 786 | 805 | 793 | 798 | 811 | 771 | 812 | 825 | 783 | 775 | 782
E8 | 809 | 30 | 795 | 799 | 832 | 869 | 820 | 805 | 774 | 771 | 804 | 811 | 777 | 813 | 827 | 786 | 788 | 869
E9 | 808 | 27 | 811 | 786 | 814 | 870 | 828 | 801 | 787 | 788 | 789 | 804 | 801 | 824 | 864 | 791 | 788 | 781
E10 | 865 | 44 | 946 | 887 | 939 | 924 | 843 | 855 | 867 | 891 | 889 | 838 | 829 | 822 | 852 | 806 | 806 | 850
E11 | 822 | 19 | 816 | 812 | 844 | 844 | 847 | 810 | 826 | 806 | 806 | 813 | 808 | 848 | 851 | 818 | 794 | 812
E12 | 892 | 70 | 977 | 901 | 878 | 880 | 866 | 851 | 960 | 962 | 878 | 858 | 844 | 867 | 1078 | 841 | 816 | 815
F1 | 13975 | 1484 | 13245 | 13680 | 13118 | 11461 | 12348 | 14329 | 15685 | 15039 | 15839 | 16407 | 14701 | 12400 | 11825 | 14089 | 15175 | 14257
F2 | 15885 | 1878 | 15759 | 16236 | 15289 | 13254 | 13952 | 16311 | 18565 | 18036 | 18333 | 18778 | 16357 | 13743 | 12894 | 14668 | 16237 | 15741
F3 | 21790 | 3304 | 16585 | 17173 | 18657 | 20025 | 23805 | 23237 | 20554 | 18563 | 19563 | 23469 | 25578 | 25313 | 24560 | 26507 | 25583 | 19461
F4 | 796 | 23 | 771 | 786 | 798 | 826 | 812 | 795 | 780 | 781 | 785 | 784 | 788 | 814 | 849 | 815 | 789 | 756
F5 | 703 | 87 | 675 | 685 | 685 | 692 | 686 | 641 | 658 | 655 | 681 | 673 | 652 | 699 | 733 | 734 | 683 | 1015
F6 | 1064 | 317 | 811 | 807 | 854 | 1020 | 1521 | 1141 | 855 | 877 | 1029 | 919 | 1035 | 1806 | 1671 | 946 | 845 | 882
F7 | 817 | 19 | 824 | 797 | 795 | 839 | 821 | 820 | 816 | 853 | 831 | 826 | 825 | 825 | 822 | 802 | 789 | 785
F8 | 703 | 15 | 705 | 697 | 693 | 723 | 705 | 692 | 704 | 677 | 682 | 715 | 704 | 701 | 736 | 714 | 711 | 688
F9 | 828 | 16 | 828 | 814 | 815 | 827 | 833 | 829 | 817 | 811 | 812 | 838 | 825 | 834 | 857 | 823 | 812 | 864
F10 | 802 | 14 | 781 | 787 | 796 | 828 | 789 | 801 | 799 | 792 | 829 | 809 | 788 | 807 | 814 | 806 | 790 | 809
F11 | 730 | 29 | 713 | 717 | 704 | 796 | 764 | 734 | 697 | 718 | 719 | 706 | 725 | 753 | 772 | 728 | 687 | 739
F12 | 857 | 51 | 824 | 860 | 848 | 945 | 993 | 846 | 839 | 818 | 820 | 848 | 836 | 899 | 890 | 821 | 814 | 817
G1 | 808 | 30 | 785 | 781 | 793 | 837 | 852 | 829 | 807 | 780 | 791 | 795 | 802 | 848 | 863 | 806 | 759 | 798
G2 | 798 | 17 | 794 | 805 | 800 | 834 | 814 | 789 | 790 | 786 | 786 | 781 | 798 | 804 | 825 | 815 | 781 | 770
G3 | 830 | 61 | 826 | 822 | 815 | 823 | 815 | 808 | 793 | 795 | 852 | 808 | 784 | 811 | 843 | 817 | 819 | 1048
G4 | 956 | 169 | 829 | 830 | 809 | 853 | 833 | 828 | 914 | 832 | 993 | 1146 | 958 | 861 | 928 | 1232 | 1379 | 1076
G5 | 825 | 15 | 832 | 850 | 841 | 824 | 816 | 839 | 837 | 816 | 809 | 822 | 826 | 832 | 840 | 812 | 801 | 800
G6 | 941 | 186 | 810 | 877 | 1046 | 1260 | 1316 | 1306 | 894 | 805 | 808 | 843 | 936 | 891 | 823 | 818 | 807 | 815
G7 | 857 | 22 | 811 | 833 | 887 | 889 | 883 | 873 | 878 | 832 | 844 | 849 | 858 | 874 | 861 | 844 | 848 | 850
G8 | 841 | 24 | 839 | 821 | 819 | 875 | 835 | 825 | 834 | 834 | 907 | 849 | 831 | 844 | 868 | 828 | 812 | 835
G9 | 840 | 19 | 817 | 818 | 822 | 865 | 844 | 828 | 851 | 865 | 866 | 837 | 813 | 844 | 857 | 830 | 825 | 863
G10 | 978 | 186 | 833 | 929 | 996 | 861 | 860 | 960 | 1393 | 1213 | 1046 | 1372 | 879 | 868 | 861 | 832 | 889 | 864
G11 | 859 | 28 | 836 | 849 | 863 | 884 | 879 | 859 | 860 | 853 | 842 | 828 | 857 | 870 | 944 | 856 | 829 | 843
G12 | 878 | 31 | 834 | 856 | 885 | 945 | 917 | 854 | 863 | 857 | 858 | 852 | 852 | 871 | 899 | 921 | 898 | 879
H1 | 833 | 38 | 795 | 827 | 835 | 855 | 824 | 806 | 811 | 809 | 811 | 817 | 820 | 825 | 893 | 830 | 946 | 820
H2 | 716 | 35 | 701 | 720 | 729 | 754 | 733 | 717 | 693 | 675 | 678 | 676 | 698 | 742 | 810 | 730 | 692 | 702
H3 | 824 | 13 | 829 | 820 | 830 | 821 | 813 | 815 | 832 | 826 | 827 | 820 | 803 | 834 | 856 | 804 | 816 | 833
H4 | 1045 | 364 | 845 | 834 | 840 | 866 | 840 | 855 | 912 | 841 | 1006 | 1413 | 952 | 881 | 1002 | 1329 | 2243 | 1054
H5 | 731 | 23 | 713 | 720 | 716 | 769 | 730 | 710 | 725 | 714 | 710 | 726 | 719 | 764 | 781 | 753 | 721 | 724
H6 | 850 | 17 | 820 | 854 | 838 | 824 | 826 | 835 | 872 | 860 | 852 | 866 | 850 | 857 | 883 | 854 | 852 | 852
H7 | 861 | 14 | 858 | 865 | 845 | 876 | 869 | 864 | 854 | 836 | 860 | 873 | 855 | 850 | 896 | 866 | 852 | 862
H8 | 803 | 44 | 864 | 789 | 759 | 799 | 799 | 766 | 913 | 867 | 791 | 763 | 783 | 784 | 831 | 788 | 773 | 777
H9 | 850 | 12 | 830 | 859 | 853 | 864 | 849 | 853 | 867 | 850 | 858 | 855 | 842 | 840 | 869 | 833 | 830 | 846
H10 | 871 | 34 | 875 | 888 | 872 | 876 | 854 | 853 | 879 | 872 | 858 | 861 | 859 | 844 | 990 | 868 | 856 | 838
H11 | 1031 | 322 | 783 | 743 | 745 | 803 | 1003 | 1027 | 828 | 943 | 929 | 1078 | 1819 | 1189 | 1139 | 1736 | 906 | 823
H12 | 871 | 22 | 872 | 859 | 869 | 912 | 904 | 863 | 864 | 850 | 855 | 865 | 858 | 900 | 907 | 856 | 850 | 844
End Time: | 3/12/2024 7:32:07 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: MEX, V 1.20 Safire2 MCR (V 1.20 Safire2 MCR ) MEM, V 1.20 Safire2 MCR (V 1.20 Safire2 MCR ) ABS, V 1.00 MCR Abs 4 Channel (V 1.00 MCR Abs 4 Channel) INA, V_2.09_04/2011_S3LCE (May 2 2011/09.25.56) INB, V_2.09_04/2011_S3LCE (May 2 2011/09.25.56) TCAN, V_1.00_02/2008_S3FTCAN (Feb 21 2008/17.19.16)

## Sheet6
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite M1000 |  |  |  | Serial number: 1003007210
Firmware: V_2.09_04/2011_S3LCE (May 2 2011/09.25.56) |  |  |  | MAI, V_2.09_04/2011_S3LCE (May 2 2011/09.25.56)
Date: | 2024-03-12
Time: | 7:21:37 PM
System |  |  |  | USER-PC
User |  |  |  | User-PC\User
Plate |  |  |  | Greiner 96 Flat Bottom Transparent Polystyrene Cat. No.: 655101/655161/655192 [GRE96ft.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Fluorescence Top Reading
Multiple Reads per Well (Square (filled)) |  |  |  | 4 x 4
Multiple Reads per Well (Border) |  |  |  | 750 | µm
Excitation Wavelength |  |  |  | 375 | nm
Emission Wavelength |  |  |  | 480 | nm
Excitation Bandwidth |  |  |  | 5 | nm
Emission Bandwidth |  |  |  | 5 | nm
Gain |  |  |  | 150 | Manual
Number of Flashes |  |  |  | 50
Flash Frequency |  |  |  | 400 | Hz
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 10 | ms
Z-Position (Manual) |  |  |  | 20000 | µm
Start Time: | 3/12/2024 7:21:39 PM
molecular weight vs fluor readout (1) ---temperature vs fluor readout
1st deriv?
[8 empty] | start | end | key |  | individual well
Temperature: 22.2 °C
Well | Mean | StDev | 0;3 | 1;3 | 2;3 | 3;3 | 3;2 | 2;2 | 1;2 | 0;2 | 0;1 | 1;1 | 2;1 | 3;1 | 3;0 | 2;0 | 1;0 | 0;0
A1 | 4308 | 465 | 4471 | 4483 | 4045 | 3434 | 3645 | 4479 | 4647 | 4422 | 4827 | 4820 | 4568 | 3746 | 3603 | 4290 | 4760 | 4686
A2 | 28100 | 2610 | 26979 | 28233 | 27049 | 23885 | 25754 | 29841 | 32282 | 28533 | 27877 | 32852 | 30877 | 25989 | 24172 | 28109 | 30182 | 26990
A3 | 40920 | 5924 | 38275 | 34180 | 35317 | 33898 | 35383 | 37363 | 41325 | 45891 | 48402 | 50669 | 44291 | 35477 | 35384 | 44623 | 49551 | 44695
A4 | 46726 | 6266 | 43855 | 43349 | 41441 | 37025 | 40157 | 46483 | 50344 | 49362 | 56217 | 55343 | 49248 | 42032 | 38897 | 44580 | 54273 | 55003
A5 | 689 | 25 | 743 | 725 | 712 | 721 | 690 | 679 | 675 | 688 | 658 | 679 | 671 | 688 | 694 | 671 | 658 | 674
A6 | 916 | 166 | 798 | 822 | 823 | 836 | 804 | 819 | 822 | 796 | 791 | 1065 | 982 | 829 | 1210 | 1263 | 1173 | 818
A7 | 1857 | 1000 | 3821 | 3073 | 2401 | 2374 | 2253 | 2645 | 2625 | 2883 | 1084 | 1111 | 1152 | 1068 | 852 | 804 | 798 | 774
A8 | 750 | 92 | 735 | 827 | 1033 | 844 | 760 | 782 | 757 | 701 | 685 | 687 | 731 | 732 | 716 | 670 | 673 | 670
A9 | 812 | 34 | 829 | 833 | 857 | 899 | 825 | 792 | 813 | 794 | 775 | 795 | 797 | 794 | 839 | 794 | 775 | 772
A10 | 820 | 20 | 819 | 831 | 842 | 865 | 822 | 809 | 825 | 804 | 820 | 846 | 811 | 791 | 816 | 798 | 790 | 826
A11 | 723 | 30 | 755 | 743 | 721 | 802 | 735 | 702 | 747 | 716 | 692 | 717 | 677 | 723 | 727 | 686 | 721 | 702
A12 | 874 | 69 | 850 | 967 | 1021 | 926 | 874 | 886 | 995 | 835 | 824 | 865 | 838 | 855 | 848 | 809 | 782 | 808
B1 | 771 | 177 | 811 | 670 | 722 | 1080 | 1319 | 725 | 679 | 734 | 743 | 683 | 655 | 754 | 714 | 689 | 662 | 694
B2 | 768 | 56 | 844 | 812 | 833 | 859 | 800 | 722 | 707 | 790 | 788 | 701 | 697 | 787 | 786 | 715 | 688 | 753
B3 | 714 | 32 | 704 | 721 | 724 | 768 | 719 | 674 | 683 | 744 | 745 | 687 | 674 | 722 | 733 | 684 | 675 | 769
B4 | 7781 | 2253 | 6031 | 7193 | 9397 | 12657 | 8453 | 7795 | 5318 | 3916 | 5033 | 6911 | 7228 | 10232 | 8662 | 10553 | 8482 | 6629
B5 | 28727 | 6143 | 28501 | 38801 | 38787 | 28893 | 23944 | 31128 | 35594 | 31221 | 27916 | 27213 | 22167 | 18931 | 19226 | 23916 | 33734 | 29666
B6 | 15297 | 1557 | 13968 | 14561 | 14141 | 12641 | 13779 | 15635 | 16525 | 15829 | 17016 | 18104 | 16408 | 14147 | 13292 | 15444 | 17108 | 16149
B7 | 44876 | 4611 | 40879 | 42557 | 41118 | 36864 | 40557 | 45927 | 49040 | 46231 | 49471 | 53137 | 48977 | 41852 | 39036 | 45684 | 50094 | 46597
B8 | 776 | 19 | 788 | 774 | 786 | 801 | 805 | 779 | 782 | 758 | 756 | 774 | 786 | 794 | 786 | 754 | 738 | 754
B9 | 804 | 14 | 799 | 808 | 797 | 818 | 815 | 795 | 803 | 787 | 803 | 822 | 804 | 791 | 840 | 806 | 784 | 797
B10 | 903 | 248 | 795 | 876 | 1427 | 1607 | 951 | 915 | 829 | 766 | 766 | 785 | 791 | 787 | 833 | 777 | 747 | 795
B11 | 836 | 35 | 881 | 873 | 836 | 860 | 827 | 817 | 891 | 806 | 802 | 810 | 819 | 837 | 902 | 819 | 786 | 810
B12 | 901 | 98 | 817 | 816 | 822 | 867 | 827 | 814 | 902 | 914 | 1086 | 1037 | 846 | 850 | 845 | 866 | 1081 | 1019
C1 | 22823 | 4831 | 21929 | 22098 | 20279 | 18811 | 18205 | 20172 | 23255 | 25697 | 30438 | 28231 | 21129 | 16580 | 16835 | 21728 | 33310 | 26465
C2 | 18358 | 1210 | 19646 | 19624 | 19256 | 18061 | 17929 | 18773 | 19502 | 19773 | 19241 | 19142 | 18179 | 16866 | 15712 | 16839 | 17583 | 17598
C3 | 39595 | 2199 | 38548 | 39910 | 38758 | 35290 | 37514 | 40270 | 42407 | 40768 | 41288 | 43606 | 41983 | 38229 | 36647 | 40018 | 40198 | 38089
C4 | 18890 | 1044 | 18331 | 18680 | 18113 | 17673 | 18458 | 19316 | 19844 | 19795 | 19977 | 20734 | 19268 | 17940 | 16786 | 18271 | 20053 | 18996
C5 | 19256 | 646 | 18871 | 19797 | 19868 | 19180 | 19022 | 19740 | 19854 | 19319 | 19800 | 20001 | 19451 | 18217 | 17673 | 18745 | 19445 | 19106
C6 | INVALID | INVALID | 35826 | 38612 | 38282 | 36031 | 43672 | 46319 | 44256 | 40604 | 51689 | 50890 | 51599 | 47661 | 41406 | 46741 | 53472 | OVER
C7 | 955 | 279 | 1713 | 1123 | 925 | 798 | 800 | 831 | 1337 | 1340 | 874 | 872 | 773 | 785 | 817 | 760 | 751 | 787
C8 | 678 | 18 | 679 | 701 | 686 | 692 | 686 | 675 | 662 | 665 | 682 | 675 | 667 | 701 | 709 | 659 | 639 | 669
C9 | 806 | 36 | 819 | 879 | 855 | 866 | 806 | 810 | 822 | 783 | 774 | 796 | 785 | 798 | 807 | 774 | 767 | 756
C10 | 794 | 18 | 787 | 808 | 799 | 819 | 827 | 804 | 785 | 792 | 787 | 792 | 772 | 803 | 814 | 776 | 763 | 778
C11 | 695 | 24 | 741 | 751 | 704 | 698 | 681 | 690 | 705 | 669 | 698 | 682 | 664 | 687 | 713 | 673 | 670 | 698
C12 | 923 | 97 | 1045 | 879 | 888 | 920 | 889 | 891 | 930 | 1232 | 922 | 881 | 880 | 905 | 968 | 889 | 820 | 828
D1 | 22625 | 4738 | 17502 | 22258 | 22734 | 18728 | 23914 | 32485 | 29279 | 23509 | 24165 | 26230 | 28042 | 21802 | 14628 | 18456 | 19392 | 18882
D2 | 13571 | 2084 | 11777 | 12481 | 13466 | 12717 | 15222 | 14522 | 13969 | 12878 | 13756 | 15481 | 15585 | 16445 | 14123 | 14033 | 13371 | 7312
D3 | 10798 | 1207 | 12484 | 11336 | 10617 | 8213 | 10194 | 11501 | 12328 | 12554 | 10985 | 11673 | 10695 | 10706 | 9724 | 9590 | 10884 | 9290
D4 | 26950 | 12202 | 15255 | 15186 | 14423 | 13227 | 12944 | 18980 | 27531 | 31008 | 47983 | 46735 | 36263 | 17724 | 22551 | 36557 | 37614 | 37216
D5 | 10092 | 1084 | 9320 | 9761 | 10593 | 10196 | 9469 | 9745 | 10028 | 10007 | 10340 | 11373 | 9477 | 8211 | 8481 | 10502 | 11443 | 12530
D6 | 14756 | 3035 | 13621 | 11522 | 11139 | 9965 | 11503 | 13083 | 16177 | 19375 | 19768 | 19584 | 16534 | 13731 | 14990 | 15427 | 15326 | 14347
D7 | 1102 | 310 | 1073 | 1014 | 813 | 843 | 889 | 1181 | 1857 | 1316 | 1354 | 1560 | 1371 | 861 | 839 | 895 | 945 | 821
D8 | 838 | 77 | 965 | 1059 | 819 | 812 | 772 | 800 | 873 | 882 | 833 | 811 | 778 | 812 | 843 | 788 | 782 | 775
D9 | 785 | 21 | 774 | 771 | 769 | 842 | 784 | 787 | 787 | 784 | 810 | 780 | 772 | 799 | 805 | 779 | 754 | 766
D10 | 796 | 17 | 791 | 787 | 788 | 824 | 797 | 780 | 789 | 783 | 796 | 793 | 787 | 805 | 824 | 788 | 776 | 836
D11 | 811 | 20 | 819 | 808 | 814 | 832 | 804 | 794 | 782 | 822 | 793 | 797 | 795 | 813 | 869 | 820 | 815 | 803
D12 | 855 | 36 | 803 | 837 | 819 | 904 | 853 | 851 | 929 | 839 | 871 | 914 | 881 | 847 | 844 | 834 | 813 | 830
E1 | 12519 | 1111 | 13145 | 13278 | 12389 | 11162 | 11143 | 12755 | 13971 | 13565 | 13326 | 14195 | 12881 | 11095 | 10393 | 12100 | 12773 | 12137
E2 | 13817 | 1098 | 14373 | 14968 | 14496 | 12887 | 13578 | 14948 | 15499 | 14624 | 13868 | 14751 | 14292 | 13191 | 11981 | 12670 | 12979 | 11966
E3 | 15016 | 1201 | 13810 | 15755 | 15135 | 13860 | 14535 | 16296 | 16813 | 14725 | 14774 | 17074 | 16306 | 14270 | 13167 | 15006 | 15440 | 13289
E4 | 1075 | 296 | 784 | 890 | 896 | 822 | 833 | 1323 | 1250 | 870 | 887 | 1390 | 1498 | 905 | 895 | 1679 | 1418 | 858
E5 | 825 | 101 | 782 | 794 | 1163 | 947 | 857 | 821 | 778 | 758 | 780 | 775 | 762 | 773 | 806 | 795 | 799 | 801
E6 | 796 | 18 | 778 | 775 | 803 | 823 | 799 | 797 | 800 | 793 | 788 | 807 | 790 | 817 | 834 | 769 | 770 | 792
E7 | 792 | 19 | 780 | 771 | 788 | 811 | 800 | 792 | 785 | 783 | 776 | 803 | 800 | 821 | 838 | 787 | 777 | 763
E8 | 805 | 24 | 791 | 804 | 817 | 855 | 820 | 791 | 775 | 781 | 788 | 827 | 792 | 814 | 819 | 780 | 784 | 844
E9 | 804 | 28 | 795 | 799 | 815 | 858 | 839 | 792 | 783 | 778 | 783 | 794 | 790 | 821 | 859 | 805 | 768 | 779
E10 | 861 | 45 | 920 | 877 | 935 | 939 | 843 | 848 | 851 | 902 | 885 | 836 | 828 | 827 | 836 | 811 | 786 | 851
E11 | 813 | 18 | 810 | 801 | 814 | 828 | 832 | 803 | 808 | 799 | 820 | 815 | 818 | 830 | 859 | 799 | 789 | 786
E12 | 880 | 72 | 952 | 889 | 849 | 878 | 828 | 835 | 936 | 951 | 861 | 840 | 822 | 865 | 1092 | 834 | 821 | 828
F1 | 14076 | 1528 | 13383 | 13859 | 13303 | 11539 | 12354 | 14356 | 15855 | 15219 | 15945 | 16664 | 14733 | 12385 | 11855 | 14154 | 15293 | 14312
F2 | 15997 | 1909 | 15911 | 16433 | 15317 | 13349 | 13981 | 16497 | 18632 | 18137 | 18401 | 19073 | 16486 | 13768 | 12997 | 14725 | 16249 | 16002
F3 | 21971 | 3294 | 16827 | 17438 | 18918 | 20265 | 24117 | 23117 | 20562 | 18544 | 19873 | 23563 | 26080 | 25430 | 24979 | 26690 | 25400 | 19728
F4 | 787 | 21 | 780 | 757 | 787 | 822 | 802 | 779 | 764 | 781 | 778 | 783 | 786 | 797 | 831 | 813 | 771 | 759
F5 | 698 | 86 | 663 | 667 | 665 | 679 | 690 | 661 | 658 | 635 | 684 | 685 | 656 | 697 | 717 | 730 | 681 | 1007
F6 | 1049 | 319 | 798 | 788 | 830 | 1003 | 1513 | 1117 | 857 | 857 | 1006 | 916 | 1035 | 1784 | 1671 | 946 | 827 | 842
F7 | 812 | 18 | 816 | 796 | 806 | 827 | 823 | 814 | 826 | 838 | 817 | 815 | 819 | 824 | 823 | 776 | 782 | 784
F8 | 696 | 14 | 689 | 681 | 684 | 707 | 693 | 688 | 687 | 677 | 678 | 708 | 704 | 711 | 725 | 710 | 691 | 700
F9 | 825 | 21 | 805 | 799 | 806 | 857 | 855 | 804 | 816 | 814 | 813 | 832 | 822 | 843 | 845 | 818 | 810 | 858
F10 | 796 | 12 | 783 | 797 | 801 | 813 | 778 | 783 | 791 | 780 | 813 | 811 | 788 | 793 | 815 | 792 | 802 | 788
F11 | 729 | 26 | 710 | 724 | 701 | 784 | 753 | 719 | 702 | 715 | 721 | 707 | 721 | 760 | 780 | 739 | 711 | 719
F12 | 852 | 50 | 826 | 857 | 854 | 929 | 1000 | 837 | 847 | 833 | 835 | 828 | 812 | 880 | 860 | 827 | 812 | 802
G1 | 804 | 36 | 792 | 772 | 794 | 835 | 859 | 811 | 784 | 779 | 799 | 790 | 782 | 861 | 879 | 799 | 768 | 759
G2 | 791 | 19 | 795 | 819 | 803 | 804 | 790 | 784 | 791 | 763 | 763 | 774 | 781 | 803 | 827 | 799 | 772 | 781
G3 | 822 | 54 | 802 | 811 | 804 | 816 | 822 | 819 | 800 | 784 | 822 | 810 | 772 | 799 | 832 | 819 | 822 | 1017
G4 | 943 | 168 | 811 | 827 | 816 | 827 | 831 | 827 | 898 | 828 | 957 | 1122 | 925 | 862 | 922 | 1223 | 1384 | 1026
G5 | 812 | 13 | 820 | 826 | 815 | 805 | 811 | 832 | 821 | 794 | 814 | 822 | 787 | 823 | 817 | 806 | 815 | 791
G6 | 934 | 184 | 796 | 872 | 1016 | 1258 | 1297 | 1306 | 872 | 797 | 823 | 841 | 916 | 901 | 829 | 805 | 805 | 810
G7 | 847 | 24 | 810 | 818 | 867 | 887 | 884 | 858 | 862 | 824 | 852 | 852 | 852 | 851 | 859 | 830 | 816 | 829
G8 | 833 | 20 | 817 | 826 | 824 | 849 | 844 | 815 | 818 | 831 | 897 | 848 | 816 | 837 | 840 | 834 | 817 | 823
G9 | 838 | 18 | 830 | 810 | 847 | 848 | 850 | 818 | 846 | 863 | 870 | 846 | 818 | 835 | 843 | 817 | 821 | 850
G10 | 966 | 186 | 849 | 899 | 969 | 862 | 853 | 937 | 1399 | 1194 | 1023 | 1360 | 874 | 837 | 842 | 840 | 864 | 851
G11 | 849 | 27 | 861 | 835 | 830 | 874 | 860 | 842 | 845 | 837 | 835 | 834 | 832 | 867 | 929 | 853 | 814 | 828
G12 | 868 | 28 | 845 | 855 | 868 | 942 | 890 | 847 | 839 | 837 | 845 | 843 | 855 | 877 | 890 | 890 | 886 | 878
H1 | 828 | 33 | 791 | 802 | 819 | 848 | 827 | 807 | 805 | 804 | 813 | 818 | 816 | 851 | 886 | 840 | 916 | 809
H2 | 708 | 31 | 696 | 711 | 720 | 727 | 744 | 686 | 685 | 659 | 687 | 683 | 699 | 731 | 787 | 736 | 692 | 691
H3 | 816 | 16 | 822 | 810 | 803 | 824 | 794 | 798 | 815 | 818 | 826 | 813 | 799 | 821 | 864 | 813 | 810 | 823
H4 | 1033 | 354 | 856 | 846 | 813 | 851 | 831 | 840 | 905 | 819 | 991 | 1374 | 932 | 895 | 998 | 1318 | 2199 | 1054
H5 | 722 | 27 | 711 | 707 | 712 | 749 | 713 | 709 | 702 | 679 | 695 | 720 | 718 | 759 | 784 | 752 | 732 | 707
H6 | 846 | 16 | 834 | 843 | 846 | 838 | 826 | 834 | 858 | 829 | 840 | 854 | 842 | 855 | 897 | 849 | 849 | 840
H7 | 854 | 13 | 837 | 863 | 858 | 857 | 857 | 854 | 865 | 839 | 840 | 857 | 862 | 857 | 886 | 851 | 851 | 833
H8 | 799 | 46 | 888 | 783 | 758 | 771 | 774 | 765 | 894 | 869 | 808 | 766 | 779 | 783 | 825 | 793 | 755 | 771
H9 | 842 | 15 | 821 | 833 | 857 | 860 | 825 | 825 | 863 | 853 | 850 | 845 | 838 | 825 | 860 | 842 | 847 | 825
H10 | 863 | 39 | 879 | 853 | 856 | 854 | 840 | 848 | 852 | 853 | 854 | 847 | 852 | 865 | 1003 | 863 | 843 | 842
H11 | 1027 | 316 | 781 | 739 | 768 | 788 | 1000 | 1025 | 825 | 930 | 937 | 1081 | 1807 | 1189 | 1137 | 1704 | 917 | 810
H12 | 858 | 25 | 835 | 830 | 872 | 893 | 905 | 864 | 852 | 838 | 848 | 838 | 842 | 872 | 906 | 859 | 836 | 833
End Time: | 3/12/2024 7:26:17 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: MEX, V 1.20 Safire2 MCR (V 1.20 Safire2 MCR ) MEM, V 1.20 Safire2 MCR (V 1.20 Safire2 MCR ) ABS, V 1.00 MCR Abs 4 Channel (V 1.00 MCR Abs 4 Channel) INA, V_2.09_04/2011_S3LCE (May 2 2011/09.25.56) INB, V_2.09_04/2011_S3LCE (May 2 2011/09.25.56) TCAN, V_1.00_02/2008_S3FTCAN (Feb 21 2008/17.19.16)

## Sheet5
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite M1000 |  |  |  | Serial number: 1003007210
Firmware: V_2.09_04/2011_S3LCE (May 2 2011/09.25.56) |  |  |  | MAI, V_2.09_04/2011_S3LCE (May 2 2011/09.25.56)
Date: | 2024-03-12
Time: | 7:20:02 PM
System |  |  |  | USER-PC
User |  |  |  | User-PC\User
Plate |  |  |  | Greiner 96 Flat Bottom Transparent Polystyrene Cat. No.: 655101/655161/655192 [GRE96ft.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Fluorescence Top Reading
Multiple Reads per Well (Square (filled)) |  |  |  | 4 x 4
Multiple Reads per Well (Border) |  |  |  | 750 | µm
Excitation Wavelength |  |  |  | 375 | nm
Emission Wavelength |  |  |  | 480 | nm
Excitation Bandwidth |  |  |  | 5 | nm
Emission Bandwidth |  |  |  | 5 | nm
Gain |  |  |  | 197 | Calculated From: A1 (100%)
Number of Flashes |  |  |  | 50
Flash Frequency |  |  |  | 400 | Hz
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 10 | ms
Z-Position (Manual) |  |  |  | 20000 | µm
Start Time: | 3/12/2024 7:20:24 PM
Temperature: 22.1 °C
Well | Mean | StDev | 0;3 | 1;3 | 2;3 | 3;3 | 3;2 | 2;2 | 1;2 | 0;2 | 0;1 | 1;1 | 2;1 | 3;1 | 3;0 | 2;0 | 1;0 | 0;0
A1 | 40086 | 4307 | 41556 | 41126 | 37383 | 31770 | 33974 | 41808 | 42573 | 40678 | 44929 | 44772 | 42968 | 35614 | 33509 | 40372 | 44961 | 43387
A2 | OVER | INVALID | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER
A3 | OVER | INVALID | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER
A4 | OVER | INVALID | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER | OVER
A5 | 6322 | 266 | 6824 | 6676 | 6440 | 6889 | 6402 | 6256 | 6306 | 6194 | 6096 | 6130 | 6098 | 6280 | 6272 | 6034 | 6028 | 6236
A6 | 8412 | 1552 | 7364 | 7295 | 7444 | 7793 | 7424 | 7380 | 7470 | 7327 | 7319 | 10002 | 9182 | 7674 | 11208 | 11305 | 10941 | 7466
A7 | 17227 | 9279 | 35045 | 28593 | 22279 | 22530 | 21182 | 24611 | 24336 | 26619 | 9858 | 10141 | 10560 | 10005 | 7793 | 7562 | 7333 | 7185
A8 | 6920 | 818 | 6774 | 7370 | 9463 | 7878 | 7089 | 7209 | 6923 | 6447 | 6339 | 6465 | 6671 | 6765 | 6561 | 6164 | 6272 | 6327
A9 | 7483 | 267 | 7391 | 7687 | 7751 | 8233 | 7523 | 7398 | 7652 | 7336 | 7281 | 7376 | 7368 | 7381 | 7620 | 7337 | 7051 | 7345
A10 | 7523 | 142 | 7482 | 7568 | 7634 | 7890 | 7539 | 7380 | 7579 | 7469 | 7577 | 7710 | 7414 | 7412 | 7548 | 7366 | 7332 | 7471
A11 | 6627 | 237 | 6787 | 6622 | 6736 | 7268 | 6727 | 6595 | 6790 | 6603 | 6230 | 6444 | 6466 | 6522 | 6763 | 6357 | 6688 | 6439
A12 | 8057 | 678 | 7543 | 9081 | 9537 | 8677 | 7841 | 8394 | 9007 | 7724 | 7569 | 8029 | 7637 | 7796 | 7848 | 7571 | 7345 | 7307
B1
B2
B3
B4
B5
B6
B7
B8
B9 | 7468 | 133 | 7391 | 7394 | 7386 | 7552 | 7352 | 7655 | 7594 | 7462 | 7498 | 7394 | 7327 | 7553 | 7793 | 7423 | 7291 | 7428
B10 | 8347 | 2292 | 7304 | 8328 | 13263 | 14744 | 8858 | 8484 | 7456 | 7263 | 7184 | 7052 | 7085 | 7296 | 7812 | 7204 | 7098 | 7120
B11 | 7719 | 301 | 8042 | 8005 | 7747 | 7901 | 7612 | 7682 | 8007 | 7546 | 7495 | 7515 | 7570 | 7699 | 8482 | 7455 | 7422 | 7324
B12 | 8276 | 884 | 7445 | 7438 | 7446 | 8140 | 7585 | 7622 | 8347 | 8311 | 9979 | 9521 | 7802 | 7849 | 7797 | 7951 | 9774 | 9407
C1
C2
C3
C4
C5
C6
C7
C8
C9
C10
C11
C12
D1
D2
D3
D4
D5
D6
D7
D8
D9
D10
D11
D12
E1
E2
E3
E4
E5
E6
E7
E8
E9
E10
E11
E12
F1
F2
F3
F4
F5
F6
F7
F8
F9
F10
F11
F12
G1
G2
G3
G4
G5
G6
G7
G8
G9
G10
G11
G12
H1
H2
H3
H4
H5
H6
H7
H8
H9
H10
H11
H12
End Time:
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: MEX, V 1.20 Safire2 MCR (V 1.20 Safire2 MCR ) MEM, V 1.20 Safire2 MCR (V 1.20 Safire2 MCR ) ABS, V 1.00 MCR Abs 4 Channel (V 1.00 MCR Abs 4 Channel) INA, V_2.09_04/2011_S3LCE (May 2 2011/09.25.56) INB, V_2.09_04/2011_S3LCE (May 2 2011/09.25.56) TCAN, V_1.00_02/2008_S3FTCAN (Feb 21 2008/17.19.16)

## Sheet4
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite M1000 |  |  |  | Serial number: 1003007210
Firmware: V_2.09_04/2011_S3LCE (May 2 2011/09.25.56) |  |  |  | MAI, V_2.09_04/2011_S3LCE (May 2 2011/09.25.56)
Date: | 2024-03-12
Time: | 7:13:21 PM
System |  |  |  | USER-PC
User |  |  |  | User-PC\User
Plate |  |  |  | Greiner 96 Flat Bottom Transparent Polystyrene Cat. No.: 655101/655161/655192 [GRE96ft.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Fluorescence Top Reading
Excitation Wavelength |  |  |  | 230 | nm
Emission Wavelength |  |  |  | 280 | nm
Excitation Bandwidth |  |  |  | 5 | nm
Emission Bandwidth |  |  |  | 5 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 50
Flash Frequency |  |  |  | 400 | Hz
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 1 | ms
Z-Position (Manual) |  |  |  | 20000 | µm
Start Time: | 3/12/2024 7:13:22 PM
Temperature: 21.7 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 3 | 3 | 4 | 3 | 5 | 6 | 4 | 4 | 5 | 5 | 5 | 5
B | 2 | 2 | 5 | 5 | 2 | 1 | 1 | 5 | 4 | 4 | 5 | 5
C | 1 | 3 | 2 | 2 | 1 | 3 | 6 | 5 | 6 | 5 | 5 | 4
D | 3 | 2 | 3 | 1 | 3 | 5 | 5 | 5 | 5 | 5 | 6 | 5
E | 1 | 1 | 1 | 4 | 4 | 4 | 5 | 5 | 5 | 5 | 5 | 5
F | 1 | 1 | 1 | 5 | 4 | 5 | 5 | 5 | 4 | 4 | 4 | 5
G | 5 | 5 | 5 | 3 | 4 | 5 | 4 | 4 | 5 | 4 | 5 | 5
H | 5 | 4 | 5 | 5 | 4 | 4 | 5 | 4 | 5 | 5 | 5 | 4
End Time: | 3/12/2024 7:13:52 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: MEX, V 1.20 Safire2 MCR (V 1.20 Safire2 MCR ) MEM, V 1.20 Safire2 MCR (V 1.20 Safire2 MCR ) ABS, V 1.00 MCR Abs 4 Channel (V 1.00 MCR Abs 4 Channel) INA, V_2.09_04/2011_S3LCE (May 2 2011/09.25.56) INB, V_2.09_04/2011_S3LCE (May 2 2011/09.25.56) TCAN, V_1.00_02/2008_S3FTCAN (Feb 21 2008/17.19.16)

## Sheet3
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite M1000 |  |  |  | Serial number: 1003007210
Firmware: V_2.09_04/2011_S3LCE (May 2 2011/09.25.56) |  |  |  | MAI, V_2.09_04/2011_S3LCE (May 2 2011/09.25.56)
Date: | 2024-03-12
Time: | 7:05:42 PM
System |  |  |  | USER-PC
User |  |  |  | User-PC\User
Plate |  |  |  | Greiner 96 Flat Bottom Transparent Polystyrene Cat. No.: 655101/655161/655192 [GRE96ft.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Fluorescence Top Reading
Excitation Wavelength |  |  |  | 230 | nm
Emission Wavelength |  |  |  | 280 | nm
Excitation Bandwidth |  |  |  | 5 | nm
Emission Bandwidth |  |  |  | 5 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 50
Flash Frequency |  |  |  | 400 | Hz
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 1 | ms
Z-Position (Manual) |  |  |  | 20000 | µm
Start Time: | 3/12/2024 7:05:43 PM
Temperature: 21.5 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
B | 2 | 2 | 2 | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
C | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
D | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
E | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
F | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
G | 2 | 2 | 2 | 2 | 3 | 2 | 2 | 2 | 2 | 3 | 2 | 3
H | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
End Time: | 3/12/2024 7:06:13 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: MEX, V 1.20 Safire2 MCR (V 1.20 Safire2 MCR ) MEM, V 1.20 Safire2 MCR (V 1.20 Safire2 MCR ) ABS, V 1.00 MCR Abs 4 Channel (V 1.00 MCR Abs 4 Channel) INA, V_2.09_04/2011_S3LCE (May 2 2011/09.25.56) INB, V_2.09_04/2011_S3LCE (May 2 2011/09.25.56) TCAN, V_1.00_02/2008_S3FTCAN (Feb 21 2008/17.19.16)

## Sheet2
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite M1000 |  |  |  | Serial number: 1003007210
Firmware: V_2.09_04/2011_S3LCE (May 2 2011/09.25.56) |  |  |  | MAI, V_2.09_04/2011_S3LCE (May 2 2011/09.25.56)
Date: | 2024-03-12
Time: | 7:03:54 PM
System |  |  |  | USER-PC
User |  |  |  | User-PC\User
Plate |  |  |  | Greiner 96 Flat Bottom Transparent Polystyrene Cat. No.: 655101/655161/655192 [GRE96ft.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Fluorescence Top Reading
Excitation Wavelength |  |  |  | 230 | nm
Emission Wavelength |  |  |  | 280 | nm
Excitation Bandwidth |  |  |  | 5 | nm
Emission Bandwidth |  |  |  | 5 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 50
Flash Frequency |  |  |  | 400 | Hz
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 1 | ms
Z-Position (Manual) |  |  |  | 20000 | µm
Start Time: | 3/12/2024 7:03:55 PM
Temperature: 21.6 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
B | 2 | 2 | 2 | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
C | 2 | 2 | 2 | 3 | 2 | 3 | 2 | 2 | 2 | 3 | 3 | 3
D | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 3 | 2 | 3 | 2
E | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
F | 2 | 2 | 2 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
G | 2 | 2 | 2 | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
H | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
End Time: | 3/12/2024 7:04:26 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: MEX, V 1.20 Safire2 MCR (V 1.20 Safire2 MCR ) MEM, V 1.20 Safire2 MCR (V 1.20 Safire2 MCR ) ABS, V 1.00 MCR Abs 4 Channel (V 1.00 MCR Abs 4 Channel) INA, V_2.09_04/2011_S3LCE (May 2 2011/09.25.56) INB, V_2.09_04/2011_S3LCE (May 2 2011/09.25.56) TCAN, V_1.00_02/2008_S3FTCAN (Feb 21 2008/17.19.16)

## Sheet1
Sheet One